City of Horse Cave

Randall Curry, Mayor

121 Woodlawn Avenue

PO Box 326

Horse Cave, Kentucky 42749

Phone: 270-786 2680	Fax: 270-786 2688

www.horsecaveky.org       E-mail: horsecave@hotmail.com

CONSUMER FIREWORKS

SALES GUIDE SHEET

- Gather Required Documents:

- Copy of Kentucky State Fireworks Sales permit and Storage Notification Report, available from the Kentucky State Fire Marshal’s office, 502-573-0369 or online at http://dhbc/ky/fp/fw/default/htm

- Proof of Insurance

- Agreement/lease (in writing) with the land owner to allow fireworks sales on their property

- Complete the City Occupation License Application

- Available at City Hall, Mon-Fri, 9am-4pm. Application may be downloaded at www.horsecaveky.org

- Attach the required documents to the application

- Pay $51.00 license fee (3 months) at City Hall, 121 Woodlawn Ave., Horse Cave, Ky for occupation license.  (LICENSE NOT APPROVED UNTIL SIGNED BY HORSE CAVE FIRE CHIEF)

- SCHEDULE A TEMPORARY TENT SITE INSPECTION

- Contact State Building Inspector, Don Cox 270-929-7584

- Schedule a Facility Inspection

- Contact Fire Chief Adam Sloan, 270-218-0930 for appointment

- License approved by Fire Chief (see pg. 2 for facility inspections standards)

FACILITY INSPECTION STANDARDS

- MINIMUM 1000 FT FROM ANY OTHER FIREWORKS SALES

- NO MOTOR VEHICLE OR TRAILER USED FOR STORAGE OF CONSUMER FIREWORKS SHALL BE PARKED WITHIN 10 FT OF THE TENT EXCEPT DURING ACTIVE DELIVERY, LOADING, OR UNLOADING OF FIREWORKS

- PORTABLE GENERATORS AND FUEL FOR GENERATORS MUST BE LOCATED AT LEAST 20 FT FROM TENT

- AISLES MUST HAVE MINIMUM 48” CLEAR WIDTH

- MAXIMUM TRAVEL DISTANCE TO AN EXIT IS 35 FT IN A NATURAL AND UNOBSTRUCTED PATH

- CURRENT STATE PERMIT AND CITY LICENSE DISPLAYED

- “NO SMOKING-FIREWORKS” SIGN, MINIMUM 2” CONTRASTING LETTERS POSTED AT MINIMUM TWO FRONT LOCATIONS

- “NO DISCHARGE OF FIREWORKS WITHIN 200 FT” SIGN

- MINIMUM 2 FIRE EXTINGUISHERS (2A MULTIPURPOSE DRY CHEMICAL)

- SALES TO OR BY INDIVIDUALS LESS THAN 18 YEARS OLD ARE NOT PERMITTED